## Slide 1
MILESTONE 3 | DEEP LEARNING
AI-Powered Portable
Breast Lump Detection Device
Using Multimodal Deep Learning
96.4%
Thermal CNN
100%
Pressure AUC
$100
Hardware Cost
Veekshitha | 2026

## Slide 2
Presentation Overview
A. Architecture
VGG16 thermal CNN + autoencoder pressure model + multimodal fusion
B. Technical Innovations
What makes this project unique vs existing work
C. Live Demo
Input → preprocessing → inference → output walkthrough
D. Dataset Application
DMR-IR thermography + Wisconsin Diagnostic datasets
E. Future Applications
Hardware integration, deployment, federated learning, patent

## Slide 3
The Problem We Are Solving
Current Limitations
✗ Mammography costs $100–$300 per scan
✗ Uses harmful ionizing radiation
✗ Unavailable in rural & low-income areas
✗ Misses tumours in dense breast tissue
✗ Uncomfortable and invasive procedure
✗ 70% of breast cancer deaths in developing countries
Our Solution
✓ Under $100 total hardware cost
✓ Zero radiation — fully non-invasive
✓ Portable handheld — works anywhere
✓ Two sensing modalities combined
✓ AI-powered instant diagnosis
✓ Full-stack web app + doctor finder

## Slide 4
A. System Architecture
Thermal Image
(MLX90640 Camera)
Pressure Readings
(8× FSR Sensors)
Thermal Branch
VGG16 → Flatten → Dense(512)
Dense(256) → 128 features
Pressure Branch
Autoencoder → Encoder(16)
Classifier → 16 features
Fusion Model
Concat(144) → Dense(256)
Dense(128) → Dense(1)
DIAGNOSIS
Healthy / Abnormal + Confidence %
MLX90640 Camera $79
8× FSR DF9-16 $18
Arduino UNO $5
Total ~$100

## Slide 5
A. Thermal CNN — VGG16 Transfer Learning
Input
224×224×3
VGG16
Frozen
Flatten
25088
Dense 512
ReLU
Drop
0.5
Dense 256
ReLU
Output
Sigmoid
Phase 1 — Frozen Backbone
VGG16 weights locked Only custom head layers train
Learning rate: 1×10⁻⁴
Monitor: val_auc
Phase 2 — Fine-Tuning
Last 4 VGG16 layers unfrozen
All layers train together
Learning rate: 1×10⁻⁵
EarlyStopping patience: 8
Results
Accuracy
96.39%
AUC
96.71%
Precision
96.69%
Recall
96.05%
Threshold
0.10

## Slide 6
A. Pressure Model — Autoencoder + Classifier
30
128
64
32
16
32
64
128
30
ENCODER
DECODER
BOTTLENECK
Phase 1 — Anomaly Detection
Autoencoder trained on HEALTHY samples only. Learns normal tissue signature. High reconstruction error = abnormal detected. Loss: MSE
Phase 2 — Classifier
Dense classifier added on top of frozen encoder bottleneck. Fast training on compressed 16-dim features. Loss: Binary cross-entropy
Phase 3 — Fine-Tune
Encoder unfrozen. Full model trained end-to-end. Best weights saved via ModelCheckpoint monitoring val_auc.
Accuracy
96.51%
AUC
100.00%
Precision
100.00%
Recall
90.62%

## Slide 7
B. Technical Innovations vs Related Work
Portable Multimodal Fusion
No existing portable open-source system combines thermal camera + FSR pressure grid + CNN fusion under $100. All existing combined devices are large clinical machines costing $50,000+.
Autoencoder Anomaly Detection
Training autoencoder on healthy-only data for anomaly detection in breast cancer classification is novel. Standard approaches need balanced datasets — this works with class imbalance.
End-to-End Clinical Pipeline
Hardware sensing + AI inference + web application + PDF reports + doctor recommendation — all integrated in one portable $100 system.
Feature
This Project
Thermal-only
Pressure Glove
Clinical Machine
Thermal sensing
✅
✅
❌
✅
Pressure sensing
✅
❌
✅
✅
Multimodal CNN
✅
❌
❌
❌
Portable <$100
✅
Partial
Partial
❌
Web application
✅
❌
❌
❌

## Slide 8
C. Live Demo — Input to Output
1
Upload Thermal Image
224×224 JPG/PNG from DMR-IR dataset or MLX90640 camera. Normalised 0–1.
2
Enter Sensor Readings
8 FSR values (0–1023). Live from Arduino or manual entry on web app.
3
AI Inference
VGG16 + Autoencoder run in parallel. Fusion combines scores (60%/40%).
4
View Results
Diagnosis + confidence score + risk level + model breakdown.
5
Download Report
One-click PDF with diagnosis, scores, recommendation + doctor finder.
Flask API :5001 ←→ React + Vite :5175 | conda activate breastkit && python app.py | npm run dev

## Slide 9
D. Application to Datasets
Dataset 1 — Thermal Imaging
Source:
DMR-IR (Kaggle) + Breast Thermography V3 (Mendeley)
Total images:
1,879 (1,014 healthy + 865 abnormal)
Format:
JPG → resized to 224×224 pixels
Preprocessing:
Normalise 0–1, VGG16 preprocess_input
Augmentation:
RandomFlip, Rotation, Zoom, Contrast
Split:
70% train / 15% val / 15% test
Dataset 2 — Pressure / Tissue
Source:
Wisconsin Diagnostic Breast Cancer — UCI ML Repository
Records:
569 patients (357 benign, 212 malignant)
Features:
30 numerical tissue properties per record
Preprocessing:
StandardScaler normalisation
Label encoding:
M = 1 (malignant), B = 0 (benign)
Split:
70% train / 15% val / 15% test

## Slide 10
D. Model Performance Results
Chart: Model Accuracy & AUC (%)
| Thermal CNN | Pressure Model | Fusion Model
Accuracy | 96.39 | 96.51 | 89.53
AUC | 96.71 | 100 | 94.09
Best Accuracy
96.51%
Pressure Model
Best AUC
100%
Pressure Model
Precision
100%
Pressure Model
Fusion AUC
94.09%
Combined Model

## Slide 11
E. Forward-Looking: Future Applications
Real Hardware Integration
MLX90640 camera + FSR sensors fully connected. Collect 200+ real paired samples. Expected accuracy: 95%+
Resource-Limited Deployment
Deploy in rural clinics in developing countries. $100 device vs $50,000+ clinical equivalent.
Multi-Cancer Extension
Same thermal + pressure framework applied to thyroid nodule, skin cancer, lymph node detection.
Research Paper + Patent
Target IEEE Transactions on Biomedical Engineering. File USPTO provisional patent ($320).
Federated Learning
Privacy-preserving model improvement across multiple clinics without sharing patient data.
AWS Deployment
Flask API → EC2, React → S3 + CloudFront. Google Maps API for live doctor finder by GPS.

## Slide 12
Key Takeaways
96.4%
Thermal CNN accuracy using VGG16 transfer learning on 1,879 images
100%
AUC on pressure autoencoder — trained on healthy-only samples
$100
Total hardware cost — vs $50,000+ for clinical equivalents
Novel
No existing portable open-source thermal + pressure + CNN system found
Thank you | Questions? | GitHub: github.com/veeksh07/AI-Powered-Portable-Breast-Lump-Detection-Device